## Slide 1
INTERWEB
Arduino
USB
Analog
Pulse
DDS DataBus <<Domain 0>>
Pulse sensor
Servo simulates infusion pump
Routing Service
Amazon Web Services
Routing Service
DDS DataBus
(TCP to AWS)
DDS DataBus
<<Domain 20>>
Web Integration Service
RESTful
Config
Web page
bootstrap, chart.js
Info
Pulse
Config
Info
Pulse
https://<AWS_IP>:9900
https://<AWS_IP>:8090
Raspberry Pi
<<Domain 10>>
Smoothing
Patient Correlation
*(Beat detection done on Arduino)
AWS_IP: 50.18.214.8
C++
Version 0.94

## Slide 2: Notes
Pi/sensor setup
  May need Arduino between Pi & Sensor to reduce jitter
  Target sample rate of 150 Hz for pulse sensor
  Optional: Use a simple servo to simulate infusion pump operation
Use batching for data transmission
Web interface
  WIS web page leverages chart.js for real-time pulse graph
  Need to figure out how many updates/sec chart.js can handle
  Need another Javascript lib (bootstrap) to add button for infusion pump